@theland  |  Fire Evacuation Policy

This fire evacuation policy outlines the procedures for safely evacuating a building or the land in the event of a fire. It includes clear instructions, marked escape routes, and designated assembly points, along with training for all occupants on how to respond in an emergency.

In an event of a fire call 999 and request the fire brigade. Contact Laura on 07969049854 if not present

Key Components of a Fire Evacuation Policy:

Fire Emergency Evacuation Plan (FEEP):

This is a written document outlining the specific actions to be taken when a fire alarm sounds, including evacuation procedures, roll call, and contacting emergency services.

- Fire extinguishers located on yard. Fire blanket located in haytsore/food room and classroom

- Do not attempt to put fires out yourself.

- All visitors, staff, volunteers and pupils are to be briefed about fire evacuation policy during safety briefing at beginning of all sessions/ visits/ attendance on site.

- Follow all recommendations from Fire risk assessment

Clear Escape Routes:

These should be clearly marked, as short and direct as possible, and free from obstructions. See Map.

Designated Assembly Points:

A safe location outside the building where everyone can gather after evacuation.

Training and Drills:

Regular fire drills and training for all occupants to ensure familiarity with evacuation procedures.

Emergency Doors:

Properly functioning emergency doors that open easily for quick escape.

Emergency Lighting:

If needed, to provide guidance during evacuation if regular lighting fails.

Consideration for Special Needs:

Planning for individuals who may need assistance during evacuation, such as wheelchair users or those with visual impairments.

Fire Warden/Duty Officer:

A designated person (management) are responsible for overseeing evacuation, checking that areas are cleared, and reporting to the assembly point.

Communication:

Clear communication of the evacuation plan and procedures to all occupants, including new staff and visitors and those starting in a new location.

Responsibilities:

Clearly defined roles and responsibilities for fire wardens and other staff members.

Immediate Evacuation:

Evacuate immediately when the fire alarm sounds and do not return until authorized.

Do Not Stop to Collect Belongings:

Prioritize safety and leave the building and land as quickly as possible.

Close Doors:

Close doors behind you when evacuating to help contain the fire and smoke.

The policy will be reviewed annually

Next date for review August 2026

Version 2- Reviewed August 2026- L. Carroll

Next review date- August 2027

Fire blanket located inside food store

2x Fire extinguishers located outside stables

Assembly point clearly marked at entrance.

Exits from building and assembly point at front gate

Birds eye view of premises @theland